## Feuil1
Wiring of supply DC lines for cryogenic amplifiers
rack on top of the cryostat |  | Between rack and top plate at 300K |  | Top plate 300K |  | Between 300K plate and 70K plate |  |  | 70K plate (1st stage of Pulse Tube) | Between 70K plate and 4K plate | [5 empty] | 4K plate (2nd stage of Pulse Tube)
Phillipe Pace 's DC line supply box |  | One Fischer cable |  | Airtight Fischer connector |  | Quad-twisted manganin wire |  |  | Jaw through the plate | Quad-twisted manganin wire |  |  | wire wound on thermalisation pillar |  |  | Amplifier
Interface |  | Pair | Cable numbering | Connector numbering |  | Quartet | Pair | Color |  | Quartet | Pair | Color | Quartet | Pair | Color | Serial number | Way
|  | 1 | 1 | 1 |  | Q1 | A | green |  | Q1 | A | green | Q3 |  | green | LNF 731B | VD - orange
|  |  | 2 | 2 |  |  |  | red |  |  |  | red |  | B | yellow |  | VG - yellow
|  | 2 | 3 | 3 | Broken | Broken | B | yellow |  | Broken | B | yellow | Shorten with the pillar |  | green |  | X
|  |  | 4 | 4 |  |  |  | green |  |  |  | green |  | A | red |  | GND - red
Face Ampli Cryo N°2 | Button UDS | 3 | 5 | 5 |  | Q2 | A | green |  | Q2 | A | green | Q2 | A | green | Caltech 552D | VD
| Button UG2 |  | 6 | 6 |  |  |  | red |  |  |  | red |  |  | red |  | VG2
| Button UG1 | 4 | 7 | 7 |  |  | B | yellow |  |  | B | yellow |  | B | yellow |  | VG1
|  |  | 8 | 8 |  |  |  | green |  |  |  | green |  |  | green |  | GND
Face Ampli Cryo N°1 | Button UDS | 5 | 9 | 9 |  | Q3 | A | green |  | Q3 | A | green | Q1 | A | green | Caltech 919D | VD
| Button UG2 |  | 10 | 10 |  |  |  | red |  |  |  | red |  |  | red |  | VG2
| Button UG1 | 6 | 11 | 11 |  |  | B | yellow |  |  | B | yellow |  | B | yellow |  | VG1
|  |  | 12 | 12 |  |  |  | green |  |  |  | green |  |  | green |  | GND
Connector BNC BF1 VS | Inner conductor | 7 | 13 | 13 |  | Q4 | A | green |  | Q4 | A | green | Q4 | A | green | BF1 & BF2 via a Tee | VS
| Outer conductor |  | 14 | 14 |  |  |  | red |  |  |  | red |  |  | red |  | GND
Connector BNC BF1 VD | Inner conductor | 8 | 15 | 15 |  |  | B | yellow |  |  | B | yellow |  | B | yellow |  | VD
| Outer conductor |  | 16 | 16 |  |  |  | green |  |  |  | green |  |  | green |  | GND
Connector BNC BF2 VS | Inner conductor | 9 | 17 | 17 |  | Q5 | A | green |  | Q5 | A | green | Q5 | A | green | BF un-named | VS
| Outer conductor |  | 18 | 18 |  |  |  | red |  |  |  | red |  |  | red |  | GND
Connector BNC BF2 VD | Inner conductor | 10 | 19 | 19 |  |  | B | yellow |  |  | B | yellow |  | B | yellow |  | VD
| Outer conductor |  | 20 | 20 |  |  |  | green |  |  |  | green |  |  | green |  | GND
|  | 11 | 21 | 21 |  | Q6 | A | green |  | Q6 | A | green | Q6 | A | green | LNF 705B | VD - orange
|  |  | 22 | 22 |  |  |  | red |  |  |  | red |  |  | red |  | VG - yellow
|  | 12 | 23 | 23 |  |  | B | yellow |  |  | B | yellow |  | B | yellow |  | X
|  |  | 24 | 24 |  |  |  | green |  |  |  | green |  |  | green |  | GND - red